## Table 1
PROJECT COST BID SHEET |  |  |  |  | DATE:
PROJ: | Dewatering Control System Recapitalization | Estimator:
LOC: | Lead, SD | Contractor:
ITEM | DESCRIPTION | LABOR | MATERIALS | LINE TOTAL
Item A: Control System Design & Administrative Services
| □ Preconstruction Meeting/Project Planning □ Project Management Throughout Project Life □ Review Documention Describing Existing Dewatering Control System □ Review SDSTA's Specifications □ Develop Rehabilitative Dewatering Control System Design □ Technical Oversight Throughout Project Life □ Taxes, Bonds, and Insurance | 0 | 0 | 0
| Subtotal |  |  | 0
Item B: Control System Construction & Programming Services |  | LABOR | MATERIALS | LINE TOTAL
| SCADA System: □ Develop SCADA Screens and Logic □ Develop SCADA Interfaces with External Data □ Simulate Operation to Test Screens and Logic (4) Duplicate Pump Station Controller Cabinets: □ Procure Parts □ Assemble Cabinets □ Test and NRTL-mark Cabinets □ Develop HMI Screens and Logic □ Simulate Operation to Test Screens and Logic (5) Duplicate Process Monitoring HMI Cabinets: □ Procure Parts □ Assemble Cabinets □ Test and NRTL-mark Cabinets □ Develop HMI Screens and Logic □ Simulate Operation to Test Screens and Logic Training & Development Controllers (1) Duplicate Pump Station Controller Cabinet: □ Procure Parts □ Assemble Cabinet □ Test and NRTL-mark Cabinet (1) Duplicate Process Monitoring HMI Cabinet: □ Procure Parts □ Assemble Cabinet □ Test and NRTL-mark Cabinet | 0 | 0 | 0
| Subtotal |  |  | 0
Item C: Control System Installation Service |  | LABOR | MATERIALS | LINE TOTAL
| 3650L Pump Room: □ Demolish Existing Pump Station Control Cabinet □ Mount and Wire New Pump Station Control Cabinet 1250L, 2450L, and 5000L Pump Rooms: □ Convert Existing Pump Control Cabinets into Marshalling Cabinets □ Mount and Wire New Pump Station Control Cabinets WWTP, Yates Hoist Bldg, ROC, Ross Top, Ross Shack: □ Mount and Wire New Process Monitoring HMI Cabinets Admin Bldg: □ Deploy New SCADA Service on SDSTA Computer | 0 | 0 | 0
| Subtotal |  |  | 0
Item D: Control System Commissioning Service |  | LABOR | MATERIALS | LINE TOTAL
| □ Commission Pump Station Controllers □ Commission Pumping Station Subsystem □ Commission Process Monitoring HMIs □ Commission Process Monitoring Subsystem □ Commission SCADA Computer □ Commission SCADA Subsystem □ Commission Dewatering Control System | 0 | 0 | 0
| Subtotal |  |  | 0
Item E: Control System Training Service |  | LABOR | MATERIALS | LINE TOTAL
| □ Develop Training Plan for SDSTA Staff □ Provide Operational Training to SDSTA Staff □ Provide O&M Manuals | 0 | 0 | 0
| Subtotal |  |  | 0
| TOTAL (Item A + B + C + D + E): |  |  | 0
Finalize Design |  |  |  |  | Calendar Days
Lead Time for Materials |  |  |  |  | Calendar Days
Construction & Programming |  |  |  |  | Calendar Days
Installation |  |  |  |  | Calendar Days
Commissioning & Training |  |  |  |  | Calendar Days
PROJECT COMPLETE (total days) |  |  |  | 0 | Calendar Days After NTP