PROPOSAL FORM

SDSTA Yates Hoistroom Building Roof Replacement

Proposal Due Date: _______________________________

Proposal Submitted by: 	Contractor Name

Proposal Submitted to:	Benjamin Brack, SDSTA   bbrack@sanfordlab.org

630 E. Summit Street	(605) 571-2307 office

Lead, SD 57754

Everybody:

The undersigned, having familiarized themselves with the site of the work, the Drawings and Specifications, Form of Contract, and Addenda Nos. ______, ______, hereby proposes to furnish all labor, material, equipment, and expertise necessary for the completion of the SDSTA Yates Hoistroom Building Roof Replacement project covered by this proposal.

BASE PROPOSAL:  Includes all work shown on the drawings and herein specified, totaled from the table below.

_______________________________________________ DOLLARS ($_______________)

| Form A | Yates Hoistroom Bldg. Roof Replacement Project | Line Item |
| --- | --- | --- |
| # | Item Description | Total |
|  | General Requirements |  |
| 1 | Mobilization/Demobilization | $ |
| 2 | Supervision, Safety, Sanitation, Debris handling, QC, Administration | $ |
| 3 | Crane rental (if applicable to means & methods) | $ |
| 4 | Other Equipment Rental (provide equipment list) | $ |
|  | Existing Conditions/Demolition |  |
| 5 | Remove & disposal of existing roofing system (approx. 16,000 sq ft) | $ |
| 6 | Modification, adjustment, tie-in of existing scuppers to new roofing system (13 scuppers) | $ |
|  | Roofing System Installation |  |
| 7 | Supply and installation of roofing panel hold down washers/screws & gaskets (2,800 plus plates) | $ |
| 8 | Supply and installation of adhered substrate, vapor barrier, insulation, board, membrane integrated roofing system as specified (approx. 16,000 sq ft field). Include membrane on parapet walls & caps as specified (additional sq footage). | $ |
| 9 | Supply and install metal parapet cap on MG Set building. Include minor ladder modifications for clearance issues. | $ |
|  | Total for Roof Replacement | $ |

Anticipated start date assuming a May 2023 contract award - __________________________________

Anticipated length of time to complete the work_________________________________weeks/months.

In case of discrepancy between figures and the amounts written out in words on this Proposal form, the amount written out in words will govern.

The above Proposal includes all applicable State and Municipal Sales and Use taxes on materials and State and Municipal Excise Taxes and all other State and Federal Taxes that would affect the amount of the Proposal.

Work shall be commenced within (10) consecutive days after written Notice to Proceed (material order/availability dependent, Contractor to advise) by SDSTA and shall be substantially completed by 180 days from the Notice to Proceed.

Contractor will deliver within ten (10) days surety bond or bonds as required by the General and Supplementary General Conditions, submit Certificates of Insurance and a list of subcontractors and major material suppliers.

The Proposal security attached in the amount of $___________________________ Dollars ($__________) or Proposal Bond in the amount of 10% is to become the property of the Owner in the event the contract and bond are not executed in the time above set forth as liquidated damages and for delay and additional expense of the Owner caused thereby.

Respectfully Submitted,

Name:  ______________________________   SEAL

By: _________________________________

(If Proposal is by Corporation)

Title:  _____________________________________

Address:

In submitting this Proposal, it is understood that the right is reserved by the Owner to reject any and all Proposals and to waive all informalities.