## Exhibit E1 HVAC PM's
Asset ID | Aset Description | Manufacturer | Model # | Serial # | Frequency of Preventive Maintenance | Filter Size | Asset Location | Equipment Needed to Reach Asset
Surface Locations
Yates Complex
AC-YSS00-01 | AC Unit (Rope House Rd) | Bard | W24AB | 434D213862591-02 | Bi-Annual Spring & Fall | 16x25x2 (2) | Water Meter Complex Bldng on Rope House Rd
HT-YSS04-01 | Wall Gas Heater (Ft. Knox) | Zeks | DVCF553C | 17149347 | ANNUAL/Fall |  | Yates Headframe Ft. Knox
HT-YSS09-01 | Reznor 300,000 BTU Natural Gas Heater | Reznor | UDAP300 | BQK3063077099 | ANNUAL/Fall |  | Yates Battery Shop | Step Ladder
HT-YSS09-02 | Weather Maker Gas Heater | Weather Maker | SW1M9421528 | TM9V100C16MP12C | ANNUAL/Fall |  | Yates Battery Shop (2nd Floor) | Step Ladder
Admin Building
AC-YSS12-03 | AC Backup System for IT | Northwind | 12-10443 | KHX2452 | Bi-Annual Spring & Fall |  | IT Network Room, Admin Building
AC-YSS12-04 | AC System for IT | Mitsubishi | 91M00593/89U09702D | PKA-A36KA7 | Bi-Annual Spring & Fall |  | IT Room & Behind Admin Bldg
AC-YSS12-05 | AC System for IT | Mitsubishi | 92M01408/89U09618D | PKA-A36KA7 | Bi-Annual Spring & Fall |  | IT Room & Behind Admin Bldg
AC-YSS12-06 | AC System for IT | Mitsubishi | 92M01405/89U09704D | PKA-A36KA7 | Bi-Annual Spring & Fall |  | IT Room & Behind Admin Bldg
AC-YSS12-07 | AC System for IT | Mitsubishi | 92M01406/89U09763D | PKA-A36KA7 | Bi-Annual Spring & Fall |  | IT Room & Behind Admin Bldg
HV-YSS12-01 | HVAC-Admin Bldg #1 Unit (SE Corner) | Trane | 134010722D | YSH150F3RHAO30001 | Bi-Annual Spring & Fall | 24X24X4 (4) 16X25X2 (4) 16X20X2 (2) | Admin Building SE
HV-YSS12-06 | AC/Heater-Mini-Split (Adm.-2nd floor vault) | Mitsubishi | 5ZU00653A | PUZ-A42NHA6 | Bi-Annual Spring & Fall |  | Adm. 2nd Floor Vault
HV-YSS12-07 | HVAC-Admin Bldg #2 (SW Corner) | Lennox | 5620A04828 | KGB150S4BH3Y | Bi-Annual Spring & Fall | 24X24X4 (4) 20X25X2 (4) | Admin Building
HV-YSS12-08 | HVAC-Admin Bldg #3 (NE Corner) | Lennox | 5620B05232 | KGB150S4BH3Y | Bi-Annual Spring & Fall | 24X24X4 (4) 20X25X2 (4) | Admin Building
HV-YSS12-09 | HVAC-Admin Bldg #4 (NW Corner) | Lennox | 5620B05229 | KGB150S4BH3Y | Bi-Annual Spring & Fall | 24X24X4 (4) 20X25X2 (2) | Admin Building
E&O Building
HV-YSS13-03 | HVAC - E & O Bldg. | York/Coleman | 5619C11966 | ZS-06N18 | Bi-Annual Spring & Fall | 24X24X2 (2) 20X25X2 (4) | Education/Outreach
HV-YSS13-04 | HVAC - E & O Bldg. | York/Coleman | 5619B11305 | ZS-06N18 | Bi-Annual Spring & Fall | 24X24X2 (2) 20X25X2 (4) | Education/Outreach
Surface Lab
AH-YSS14-01 | Air Handler Units Surface Lab |  | BVC3052053862 | UDX-400 | Bi-Annual Spring & Fall | 20x24x2 16x20x2 20x20x2 | Surface Lab AHU's
Rounds Operation Center (ROC)
AC-YSS10-01 | AC Unit #1 (ROC) | Coleman | W2B1688532 | TCG48B41S | ANNUAL/Spring | 20X25X2 (1) | Outside Unit at ROC Admin Deck
AC-YSS10-02 | AC Unit #2 (ROC) | Coleman | W2B1686453 | TCG36B41S | ANNUAL/Spring | 20X25X2 (1) | Outside unit at ROC Admin Deck
AC-YSS10-03 | AC Unit #3 (ROC) | Coleman | W2B1686452 | TCG36B41S | ANNUAL/Spring | 20X25X2 (1) | Outside unit at ROC Admin Deck
AC-YSS10-04 | AC Unit #4 (ROC) | Coleman | W2B1688531 | TCG48B41S | ANNUAL/Spring | 20X25X2 (1) | Outside unit at ROC Admin deck
AC-YSS10-05 | AC Unit #5 (ROC) | Coleman | W2D1938638 | TCG48B41SA | ANNUAL/Spring | 20X25X2 (1) | Outside unit at ROC Admin deck
AC-YSS10-06 | AC Unit #6 (ROC) | Coleman | W2B1686454 | TCG36B41S | ANNUAL/Spring | 20X25X2 (1) | Outside unit at ROC admin deck
AC-YSS10-07 | Mini Split for ROC IT Room Head End | Samsung | ORY4PAGN900044B | AC030MNTDCH/AA | Bi-Annual Spring & Fall |  | IT Room ROC 2nd Fl | Step Ladder
HT-YSS10-01 | Furnace Unit #1 | Coleman | SW1K9316317 | TM9V100C16MP12C | ANNUAL/Fall | 20X25X2 (1) | NE Corner of E Utility Room ROC 2nd Fl
HT-YSS10-02 | Furnace Unit #2 | Coleman | SW2M0393255 | TM9V100C16MP12C | ANNUAL/Fall | 20X25X2 (1) | SE Corner of E Utility Room ROC 2nd Fl
HT-YSS10-03 | Furnace Unit #3 | Coleman | SW1M9421528 | TM9V100C16MP12C | ANNUAL/Fall | 20X25X2 (1) | SW Corner of E Utility Room ROC 2nd Fl
HT-YSS10-04 | Furnace Unit #4 | Coleman | SW1K9299039 | TM9V100C20MP12C | ANNUAL/Fall | 20X25X2 (1) | NW Corner of E Utility Room ROC 2nd Fl
HT-YSS10-05 | Furnace Unit #5 | Coleman | SWF0906596 | TM9V100C16MP12C | ANNUAL/Fall | 20X25X2 (1) | S Corner of W Utility Room ROC 2nd Fl
HT-YSS10-06 | Furnace Unit #6 | Coleman | SL 40-399G3-05483 | SL 40-399G3 | ANNUAL/Fall | 20X25X2 (1) | N Corner of W Utility Room ROC 2nd Fl
HT-YSS21-07 | Dock Ice Melt Boiler | IBC Boiler | SL 40-399G3-05483 | SL 40-399G3 | ANNUAL/Fall |  | ROC Warehouse
AC-YSS21-01 | Mini Split for ROC Warehouse Head End | Samsung | 0E7ZPAFN900084F/OTJ5PAGN900023B | AC018NN4DCH/AA | Bi-Annual Spring & Fall |  | ROC Warehouse | Step Ladder
HT-YSS21-01 | CO-RAY-VAC |  | CO-RAY-VAC |  | ANNUAL/Fall | 6 Burners with filters | ROC Warehouse | 19' Scissor Lift
HT-YSS21-02 | Furnace |  |  |  | ANNUAL/Fall |  | ROC Warehouse | 19' Scissor Lift
HT-YSS22-01 | CO-RAY-VAC |  | CO-RAY-VAC |  | ANNUAL/Fall | 6 Burners with filters | ROC Shop | 19' Scissor Lift
HT-YSS22-02 | Furnace |  |  |  | ANNUAL/Fall |  | ROC Shop | 19' Scissor Lift
WWTP
HT-WTS11-01 | 250M Unit Heater - Natural Gas | Reznor | REZUDX250 | BVJ3062136434 | ANNUAL/Fall |  | WWTP | Platform Ladder
Yates Ramp
HT-YSS01-01 | Heater Unit - Yates Ramp (Dry) | Titan | 15029 | NGHRHDA | ANNUAL/Fall |  | Yates Ramp Dry (East End) | Platform Ladder
Yates Hoist Room
HT-YSS02-01 | Heater Unit - Yates Hoist | Titan | BQK3063077099 | UDAP300 | ANNUAL/Fall |  | Yates Hoist, Lower Floor
Yates Headframe
HT-YSS01-03 | Heater Unit - Yates Shaft East (Prev at Ross) | Titan | NGHRHDA | 15029 | ANNUAL/Fall |  | Yates Headframe
HT-YSS01-02 | Heater Unit - Yates Shaft West (new-2013) | Titan | 4461 | NGHLHDA | ANNUAL/Fall |  | Yates Headframe
Ross Hoist Room
HT-RSS02-09 | Heater (Ross Hoist Room - Ross Cage Side) | Reznor | 183526N72G | AUH1D120A9601CB | ANNUAL |  | Ross Hoist Room - Ross Cage Side | Platform Ladder
HT-RSS02-10 | Heater (Ross Hoist Room - Ross Skip Side) | Reznor | BUC3062053552 | UDAP125 | ANNUAL |  | Ross Hoist Room - Ross Skip Side | Platform Ladder
HT-RSS02-08 | Heater (Ross Hoist Room - Basement) | Reznor | BVC3062053971 | UDX-400 | ANNUAL |  | Ross Hoist Room - Basement
HV-RSS02-01 | AC/Heater-Mini-Split 10.2K ES (Ross Bat Cave) | Fujitsu | ATN000596 | A0U24RLXFW | Bi-Annual Spring & Fall |  | Ross Bat Cave (Lower Hoist Rm)
Ross Headframe
HT-RSS02-11 | Ross Shaft Heater | Titan | TA-239 NG HLH DA | 18983 | ANNUAL/Fall |  | Ross Shaft
Ross Complex
HT-RSS05-07 | Heater - Ross Dry Change Room | Reznor | UDAP125 | BUC306205 | ANNUAL/Fall |  | Ross Dry Change Room | Platform Ladder
HT-RSS05-08 | Heater - Outside FNAL Offices | Reznor | BSA3062002389 | UDAP150 | ANNUAL/Fall |  | Ross Dry - Outside FNAL Offices | Platform Ladder
HV-RSS05-01 | AC/Heater-Mini-Split 10.2K ES (Ross Front Office) | Fujitsu | HSN012488 | AOU12RLS | Bi-Annual Spring & Fall |  | Ross Dry FRA Construction Coordinator Offices | Platform Ladder
HV-RSS05-02 | AC/Heater-Mini-Split 10.2K ES (Ross ERT N Unit) | Fujitsu | ATN000596/000419 | A0U24RLXFW | Bi-Annual Spring & Fall |  | Ross Dry Emergency Rescue Team (ERT) Room | Extension Ladder
HV-RSS05-03 | AC/Heater-Mini-Split 10.2K ES (Ross ERT S Unit) | Fujitsu | 000425 | A0U24RLXFW | Bi-Annual Spring & Fall |  | Ross Dry Emergency Rescue Team (ERT) Room | Extension Ladder
HV-RSS05-06 | AC/Heater - Ross FRA Offices | American Standard | BUK3062174675 | UDX-250 | Bi-Annual Spring & Fall | 25x25x2 (1) | FNAL Office Space | Platform Ladder
Old Ross Warehouse
HT-RSS06-01 | Overhead Radiant Heater (Old Warehouse) | Co-Ray-Vac | AZB71U2N28371X | FT200 | ANNUAL/Fall |  | Old Ross Warehouse | Scissor Lift
HT-RSS06-03 | Heater (Old Ross Warehouse) | Reznor | 7121480033 | 3E489A | ANNUAL/Fall |  | Old Ross Warehouse - South End | Scissor Lift
Ross Maintenance Shop
HT-RSS08-02 | Heater (Ross Maintenance Shop) | Reznor | 4452 | NGHLHDA | ANNUAL/Fall |  | Ross Maintenance Shop | Platform Ladder
HT-RSS08-03 | Heater (Ross Maintenance Shop) | Dayton | 15028 | NGHRHDA | ANNUAL/Fall |  | Ross Maintenance Shop | Platform Ladder
Oro Hondo Site Remote Location
Howden Fan
HV-RLS01-03 | Howden HVAC Unit 1 | Marvair | MGA1072A |  | Bi-Annual Spring & Fall | 24x30x2 (1) | Oro Hondo Site
HV-RLS01-04 | Howden HVAC Unit 2 | Marvair | MGA1072A |  | Bi-Annual Spring & Fall | 24x30x2 (1) | Oro Hondo Site
HV-RLS01-05 | Howden HVAC Unit 3 | Marvair | MGA1072A |  | Bi-Annual Spring & Fall | 24x30x2 (1) | Oro Hondo Site
American Davidson Fan
HV-RLS01-01 | American Davidson E Control HVAC 1 | Marvair | BJ-F166154-0-1 | ECUDA150ACD090CU | Bi-Annual Spring & Fall | 16X25X2 (6) | Oro Hondo Fan E Control Room
HV-RLS01-02 | American Davidson E Control HVAC 2 | Marvair | BJ-F166154-0-2 | ECUDA150ACD090CU | Bi-Annual Spring & Fall | 16X25X2 (6) | Oro Hondo Fan E Control Room
Visitor Center
AH-RLS08-01 | Air Handler Unit (AHU 1 - 4) Visitor Center | Daikin |  | FBOU141201398 | Quarterly | 20x24x2 (9) 24x24x2 (3) | Sanford Lab Homestake Visitor Center | Extension Ladder
HT-RLS08-01 | Knight Boiler #1 | Knight | KBN286 | K14H10324447 | Quarterly |  | Sanford Lab Homestake Visitor Center
HT-RLS08-02 | Knight Boiler #2 | Knight | KBN286 | K14H10324450 | Quarterly |  | Sanford Lab Homestake Visitor Center
TA-RLS08-01 | Expansion Tank for Boiler System | Armstrong | AX-80 | 572005-101 | Quarterly |  | Sanford Lab Homestake Visitor Center
Underground Locations
Davis Campus
AH-DVU09-01 | Air Handler Unit (AHU-1) - Davis Campus | York | XTI039X063KKKG046A | ANXMXT0200 | Quarterly | 12x24x2 (1) 12x24x4 (1) 20x24x2 (2) 20x24x4 (2) | Mechanical Room Davis Campus
AH-DVU09-02 | Air Handler Unit (AHU-2) - Davis Campus | York | XTI072X096KAPA046A | ANXMXT0228 | Quarterly | 20x20x12 (9) 20x24x12 (3) 20x20x2 (9) 20x24x2 (3) 24x30x12 (2) - Hepa 30x30x12 (4) - Hepa | Mechanical Room Davis Campus
AH-DVU09-03 | Air Handler Unit (AHU-3) - Davis Campus | York | XTI060X072KALA046A | ANXMXT0199 | Quarterly | 20x24x12 (6) 20x24x2 (6) 24x30x12 (4) | Mechanical Room Davis Campus
AH-DVU09-04 | Air Handler Unit (AHU-4)/Condenser Unit | York | XTI-078X138-KAGA046A | ANXMXT0197 | Quarterly | 20x24x2 (5) - Metal/Washable 24x24x2 (10) - Metal/Washable | Chiller Room Davis Campus
AH-DVU09-05 | Air Handler Unit (AHU-5)/Condenser Unit | York | XTI-078X138-KAGA046A | ANXMXT0198 | Quarterly | 20x24x2 (5) - Metal/Washable 24x24x2 (10) - Metal/Washable | Chiller Room Davis Campus
AH-YSU48-06 | Air Handler unit (AHU-6) - Big X | Airflow | CSAA014UAG00 | K13M05916A | Quarterly | 16x20x2 (8) 20x20x2 (8) 20x25x2 (2) 16x25x2 (2) | Big X - right of UG WWTP
CL-DVU30-04 | Chiller #1 - Davis Campus | York | YCRL0084HE46XBB | 11551M90548502 | Quarterly |  | Chiller Room Davis Campus
CL-DVU30-05 | Chiller #2 - Davis Campus | York | YCRL0084HE46XBB | 11551M90548501 | Quarterly |  | Chiller Room Davis Campus
CL-DVU30-06 | Chiller #3 | Tandem Chillers | WHRX030DZV-D | 0121-2601 | Quarterly |  | 4850 Level
4850 Refuge Chamber
AC-RSU48-04 | Dehumidifiers (x2) for Refuge Chamber 4850 | Hisense | KKF JUSA0635 / KKF JUSA0400 | DH-70K1SLE | Quarterly |  | 4850 Level Refuge Chamber
AC-RSU48-05 | AC Unit for Refuge Chamber 4850 (#1) | Mitsubishi | 74M01262 | PKA-A36KA7 | Quarterly |  | 4850 Refuge Chamber
AC-RSU48-06 | AC Unit for Refuge Chamber 4850 (#2) | Mitsubishi | 7ZM04789 | PKA-A36KA7 | Quarterly |  | 4850 Refuge Chamber
AC-RSU48-07 | AC Unit for Refuge Chamber 4850 (#3) | Mitsubishi | 74M04787 | PKA-A36KA7 | Quarterly |  | 4850 Refuge Chamber
AC-RSU48-08 | AC Unit for Refuge Chamber 4850 (#4) | Mitsubishi | 7ZM01581 | PKA-A36KA7 | Quarterly |  | 4850 Refuge Chamber
Updated 8/9/2023